## Slide 1: UAT flow

## Slide 2: Referral Site
Configurator last (pre-configured MID and ANN)
Accession in MID (breast, [Nine, Patient])
Show MIRTH for the HL7 ORL
Give control to referral pathologist
RP log into worklist
RP exercise reserve un-reserve case
RP opening edit report
RP save report
RP complete
Scan slides…(edit ORU in MIRTH)
RP Review images
RP Review notes add note
RP Request Consult

## Slide 3: Consulting Site
CP to log in ANN
CP Open worklist
CP Select case
CP Check for prior case and report for same exam
CP Reserve exam
CP Review health summary
CP Review notes
CP View images
CP Edit report
CP Add new supplementary report
CP Complete and sign supplementary report.
Show completed items in WL
Filters
  Create new filter
  Apply filters

## Slide 4: Referral Site
RP to review supplementary report
RP to attempt to verify main report
RP verify supplementary report
RP Complete the Main report text
RP to Verify the main report
RP to view the report
Show reports in CPRS
Stuart to code report
  Snomed (breast, morphology….)
  CPT code (88304, 88307..)
Configurator
  Site setup
  Report Setup